EAL Level 3 Experienced Worker Qualification

603/5982/1

Job Number ____

Terminate and Connect Conductors

Site Evidence Unit 05

NAME:

COMPANY:

EMAIL:

TEL:

SUPERVISOR:

ASSESSOR:

| Unit Code: (ETKP3-05) Terminate and Connect Conductors |  |
| --- | --- |
| Learning Outcome 1: Prepare to terminate and connect cables and conductors. |  |
| Photo of you:- - Photo of selecting appropriate tools - Photo of wearing PPE This evidence could possibly be used on 01.2.2(a)(b)(c) 01.2.5 04.1.1(a) - Produce your own risk assessment and method statement. Copy in miscellaneous and reference it to 05.1.1(C) job number 1/2 This evidence could possibly be used on 01.1.2 01.1.3(a)(b) 03.2.1 04.1.1(b) 06.2.1 | Learning outcome: 1.1 Criteria: Evaluate and apply appropriate procedures to include: a) Selecting appropriate tools/equipment to enable termination and connection b) Adopting appropriate PPE c) Following a safe system of work (e.g. risk assessment, method statement, permit to work procedure) Address: Date: |
| - Photos of you carrying out safe isolation:- - Locking off with warning label - Proving instrument on known supply - Testing between all conductors - Re-proving instrument on known supply This evidence could possibly be used on 01.1.3(c) 06.1.1 07.1.3 - Photo of you checking the equipment is mechanically sound before making connections. This evidence could possibly be used on 05.2.4 - Photo of you checking there is nothing unsafe before making connections. | Learning outcome: 1.2 Criteria: Assess and confirm it is safe to complete termination and connection in terms of: a) checking for presence of supply/carry out safe isolation b) mechanical soundness of the electrical equipment to be connected to c) checking for unsafe situations Address: Date: |
| Learning Outcome 2: Terminate and connect conductors and cables |  |
| Photos of terminating (not installing) any 4 off the list:- - Single core (singles) show at least 3 photos - Multicore insulated cable at least 3 photos - Twin and earth show at least 3 photos - MICC show at least 4 Photos - FP200 show at least 3 photos - SWA show at least 4 Photos - SY show at least 4 Photos - Data show at least 4 Photos | Learning outcome: 2.1 Criteria: Terminate and connect cables and conductors in accordance with manufacturer’s instructions, BS7671 and any relevant drawing or specification: Cover Four: a) Single core (singles) b) multicore insulated cable c) PVC/PVC flat profile cable (twin and earth) d) MICC cable e) fire performance (such as FP200etc.) f) SWA cable g) GSWB galvanised steel wire braid h) data cable Address: Date: |
| Photos of terminating (not installing) any 5 off the list. These should show at least 2 photos of each:- One making off the end of the cable and one connecting to the terminal. | Learning outcome: 2.2 Criteria: Connect to electrical equipment In accordance with manufacturer’s instructions, BS7671, and any relevant drawing or specification: Cover Five: a) isolators/switches b) socket-outlets c) distribution-boards/consumer units d) luminaires e) electric motors/motor control equipment f) overcurrent protective devices g) earthing terminals h) control panels i) data socket outlets or data connections j) fire detection/alarm components k) other appropriate equipment (such as: heating system components etc.) Address: Date: |
| Photos of terminating any 2 off the list. | Learning outcome: 2.3 Criteria: Terminate and connect conductors using appropriate methods: Cover Two: a) screwing b) crimping c) soldering d) non-screw compression e) insulation displacement Address: Date: |
| Photo of you checking tightness of conductors. (torque screwdriver OR tug test) This evidence could possibly be used on 05.1.2(b) | Learning outcome: 2.4 Criteria: Ensure that terminations and connections are electrically and mechanically sound (e.g. by simple inspection and testing terminations) Address: Date: |
| Photos of you putting on coloured (could be green/yellow) oversheath or numbered labels. | Learning outcome: 2.5 Criteria: Ensure cables have appropriate identification in accordance with BS7671. Address: Date: |