EAL Level 3 Experienced Worker Qualification

603/5982/1

Job Number ____

Inspect, Test and Commission

Site Evidence Unit 06

NAME:

COMPANY:

EMAIL:

TEL:

SUPERVISOR:

ASSESSOR:

| Unit Code: (ETKP3-06) Inspect, Test and Commission Electrical Systems. |  |
| --- | --- |
| Learning Outcome 1: Be able to confirm safety of the system and equipment prior to completion of inspection, testing and commissioning in accordance with statutory and non-statutory regulations. |  |
| Photos of you carrying out safe isolation:- - Locking off with warning label - Proving instrument on known supply - Testing between all conductors - Re-proving instrument on known supply This evidence could possibly be used on 01.1.3(c) 05.1.2(a) 07.1.3 | Learning outcome: 1.1 Criteria: Carry out safe isolation procedures in accordance with regulatory requirements for electrical installations. Address: Date: |
| Photo of you erecting barriers and/or signs. This evidence could possibly be used on 01.2.4 01.3.4 07.1.4 | Learning outcome: 1.2 Criteria: Ensure the health and safety of themselves and others within the work location during inspection, testing and commissioning. Address: Date: |
| Photo of you inspecting the area is safe before you start work. | Learning outcome: 1.3 Criteria: Check the safety of electrical systems prior to the commencement of inspection, testing and commissioning. Address: Date: |
| Learning Outcome 2: Be able to inspect electrical systems and equipment. |  |
| Photo of you reading the method statement & risk assessment prior to starting work. Copy of method statement & risk assessment in miscellaneous and reference it to 06.2.1 job number 1/2 This evidence could possibly be used on 01.1.2 01.1.3(a)(b) 03.2.1 04.1.1(b) 05.1.1(c) | Learning outcome: 2.1 Criteria: Assess whether the safe system of work is appropriate to the work activity. Address: Date: |
| Photos (at least 5) of you carrying out a visual inspection. | Learning outcome: 2.2 Criteria: Carry out a visual inspection in accordance with the requirements of the installation specification, BS7671 and IET Guidance Note 3. Address: Date: |
| Photo of you completing a schedule of inspections. Copy of schedule of inspections in miscellaneous and reference it to 06.2.3 job number 1/2 | Learning outcome: 2.3 Criteria: Complete a schedule of inspections in accordance with BS7671 and IET Guidance Note 3 making technical decisions. Address: Date: |
| Learning Outcome 3: Be able to test and commission electrical systems and equipment. |  |
| Photo of you checking the instrument, the test leads and probes/clips are safe to use. | Learning outcome: 3.1 Criteria: Select the test instruments and their accessories for tests. Address: Date: |
| Photo of you carrying out all of the tests showing the test settings and the readings on the instrument where applicable. | Learning outcome: 3.2 Criteria: Carry tests in accordance with the installation specification and BS7671 and manufacturer’s instructions: a) continuity b) insulation resistance c) polarity d) earth fault loop impedance/earth electrode e) prospective fault current f) RCD operation g) functional testing Address: Date: |
| Photo of you showing test results to relevant person, any one off the list. | Learning outcome: 3.3 Criteria: Analyse and verify test results reporting all findings to relevant persons, as appropriate: Cover One: (e.g. over the assessment occasions cover one item twice or both items once). a) representatives of other services/colleagues b) customers/clients Address: Date: |
| Photo of you completing each of the paperwork as per criteria. - Copy of Electrical Installation Certificate, Schedules of inspections and Schedules of test results in miscellaneous and reference it to 06.3.4(a) job number 1/2 - Copy of Minor Electrical Installation Works Certificate in miscellaneous and reference it to 06.3.4(b) job number 1/2 (If digital, show photos) | Learning outcome: 3.4 Criteria: Complete in accordance with BS7671 and IET Guidance Note 3: a) an Electrical Installation Certificate (+Schedules of inspections and Schedules of test results) b) a Minor Electrical Installation Works Certificate Address: Date: |
| Photo of you handing over all certificates and manufacturers instructions to the relevant person. (If digital, show photos) | Learning outcome: 3.5 Criteria: Complete the handover of electrical systems and equipment to relevant persons including the provision of accurate and complete documentation regarding the completed inspection, testing, commissioning and customer satisfaction. Address: Date: |
| Photo of you demonstrating to the customer operation of equipment (could be a central heating programmer). | Learning outcome: 3.6 Criteria: Demonstrate to the customer/client that the operation of the circuits, equipment and components are in accordance with the installation specification and customer/client requirements. Address: Date: |