EAL Level 3 Experienced Worker Qualification

603/5982/1

Job Number ____

Fault Diagnosis

Site Evidence Unit 07

NAME:

COMPANY:

EMAIL:

TEL:

SUPERVISOR:

ASSESSOR:

| Unit Code: (ETP3-07) Apply Fault Diagnosis and Rectification |  |
| --- | --- |
| Learning Outcome 1: Prepare to carry out fault diagnosis |  |
| Photo of you checking the area is safe to start work. | Learning outcome: 1.1 Criteria: Check it Is safe to carry out fault diagnosis. Address: Date: |
| Photo of you informing others of fault diagnosis work being carried out. (Supply might be going off). | Learning outcome: 1.2 Criteria: Inform relevant personnel of the fault diagnosis work (such as personnel on the premises, users of electrical equipment). Address: Date: |
| Photos of you carrying out safe isolation:- - Locking off with warning label - Proving instrument on known supply - Testing between all conductors - Re-proving instrument on known supply This evidence could possibly be used on 01.1.3(c) 05.1.2(a) 06.1.1 | Learning outcome: 1.3 Criteria: Carry out safe isolation procedure. Address: Date: |
| Photo of you erecting barriers and signage. This evidence could possibly be used on 01.2.4 01.3.4 06.1.2 | Learning outcome: 1.4 Criteria: Evaluate and apply appropriate methods to ensure the safety of themselves and others when diagnosing and correcting electrical faults. Address: Date: |
| Learning Outcome 2: Carry out fault diagnosis |  |
| Photo of you informing relevant personnel the nature of the fault. | Learning outcome: 2.1 Criteria: Communicate effectively with relevant personnel (e.g. customer, premises manager) to ascertain the nature of the fault. Address: Date: |
| Photo of you looking at layout drawings/board schedule/previous test results. | Learning outcome: 2.2 Criteria: Select and interpret appropriate documents (e.g. layout drawings, schematic diagrams etc.) which relate to the electrical systems and equipment being worked upon. Address: Date: |
| Photo of you informing others of disruption that may be caused while correcting faults. i.e. power being switched off. | Learning outcome: 2.3 Criteria: Assess and communicate potential disruption that may be a consequence of fault diagnosis and correction work to relevant people, such as other workers/colleagues customers/clients. Address: Date: |
| Photo of you finding a fault by visual inspection. | Learning outcome: 2.4 Criteria: Carry out relevant inspections of electrical equipment analysis findings. Address: Date: |
| Photo of you checking the instrument, the test leads and probes/clips are safe to use. Also photo of you checking calibration label on instrument. | Learning outcome: 2.5 Criteria: Confirm test instruments are fit for purpose, functioning correctly and are correctly calibrated. Address: Date: |
| Photos of you showing any 3 faults from the criteria. This could be by way of a reading on the test instrument. | Learning outcome: 2.6 Criteria: Perform suitable diagnostic tests based on engineering decision, to identify electrical faults: Cover Three: a) loss of supply b) overload c) short-circuit d) earth fault e) incorrect phase rotation f) high resistance joints/loose terminations g) component, accessory or equipment faults h) open circuit i) signal faults Address: Date: |
| - Several Photos of you identifying where the fault lies along with an accurate description of how you found it. - Photo of you erecting warning signs. This evidence could possibly be used on 01.1.1 01.3.3 03.2.2 - Photo of test instrument reading with a fault and an explanation of the reading. | Learning outcome: 2.7 Criteria: Use appropriate methods for locating faults including: a) Using a logical approach b) Using safe working practices c) Interpretation of test readings Address: Date: |
| Photos of instrument reading with fault on circuit, any 3 off the list. | Learning outcome: 2.8 Criteria: Use appropriate instruments correctly to carry out fault diagnosis: Cover Three: a) voltage indicator b) low resistance ohm meter c) insulation resistance tester d) EFLI and PFC tester e) RCD tester f) ammeter g) phase rotation tester h) other appropriate instrument Address: Date: |
| Learning Outcome 2: Carry out fault rectification |  |
| Photo of you showing customer a repair you have carried out, any one off the list. | Learning outcome: 3.1 Criteria: Assess the appropriate repairs, removals and replacements and their implications with relevant people including: Cover One: (e.g. over the assessment occasions cover one item twice or both items once) a) other workers/colleagues b) customers/clients Address: Date: |
| Photo of you repairing a fault. | Learning outcome: 3.2 Criteria: Perform fault correction procedures correctly and safely using appropriate tools, equipment and material. Address: Date: |
| Photo of you verifying that a replacement component is - easy to access - compliant with BS7671 - compliant with manufacturer’s instructions. | Learning outcome: 3.3 Criteria: Assess and verify that replacement components and associated equipment maintain: a) ease of access to enable future maintenance b) compliance with relevant regulations c) compliance with manufacturer’s instructions/organisational procedures Address: Date: |
| Photo of you leaving a fault that cannot be rectified immediately in a safe condition. (could be locked off or dissconnected). | Learning outcome: 3.4 Criteria: Apply appropriate procedures to ensure electrical equipment and components are left safe, in accordance with industry regulations, if the fault cannot be corrected immediately based on technical assessment. Address: Date: |
| Photo of you performing a functional test after completing a repair. (show the light switched on after repair.) (show a socket tester light up after repair). | Learning outcome: 3.5 Criteria: Establish and perform an appropriate inspection and testing procedures to confirm that circuits/equipment/components are functioning correctly after completion of fault correction work. Address: Date: |
| Photo of you handing over a Minor Electrical Installation Certificate to any one off the list. Copy of Minor Electrical Installation Certificate in miscellaneous and reference it to 07.3.6 job number 1/2 | Learning outcome: 3.6 Criteria: Record test results and other appropriate information regarding the fault correction work clearly and accurately and report it to relevant people: Cover One: (e.g. over the assessment occasions cover one item twice or two different items once) a) other workers/colleagues b) customers/clients c) representatives of other services Address: Date: |